REAL-TIME FMRI: setup, image monitoring, statistics, and feedback
REAL-TIME FMRI:
setup, image monitoring, statistics, and feedback
Ziad S Saad, PhD
SSCC / NIMH & NINDS / NIH / DHHS / USA / EARTH

---
Why bother?
Why bother?
Image quality control
  - Spikes, distortion, ghosting, noise, …
  - Amount of motion
  - Operator error
Functional localization
  - Localizer prior to main FMRI experiment for BCI or high-res imaging
  - Pre operative scanning
  - As Q/A in clinical settings or difficult / rare subject population
  - 'scan to criteria'
- Teaching
- Feedback and Biofeedback
  - Reduce motion
  - Alter/interfere brain function
  - Control of task/ stimulus computer
  - Classification/BCI
  - Signals in vegetative state
Cox, RW et al. 95,
Cohen, MS et al. 98,
Frank, J. et al 99,
Voyvodic, J. 99
Weiskopf, N. et al 04
Yang, S. et al 08
Weiskopf, N et al. 2007
Yang, S. et al. 05
deCharms. RC. et al. 04
deCharms. RC. et al. 05
Posse S. et al. 03
LaConte SM. et al. 07
Yoo S. et al. 04
Owen AM et al 06
[Speaker Notes: This talk was to be a hands on session for the intrepid that wanted to get their hands dirty. But can't possibly provide enough computers setup for such a large number so I turned this into a more generalized realtime talk with some demos that I would run to give you a feel for the interface.]

---
Outline
Outline
This talk will focus on AFNI's interface for real-time FMRI
  - Examples of how real-time FMRI can be useful
  - A brief intro to the interactive interface
  - Demo I: simple image monitoring
  - Demo II: Demo I + GLM
  - Demo III: Feedback

---
Image Quality Control
Image Quality Control
Cox, RW et al. 95,
Cohen, MS et al. 98,
Frank, J. et al 99,
Voyvodic, J. 99
Image quality control
  - Spikes, distortion, ghosting, noise, …
  - Amount of motion
Weiskopf, N et al. 2007

---
Image Quality Control
Cox, RW et al. 95,
Cohen, MS et al. 98,
Frank, J. et al 99,
Voyvodic, J. 99
Image quality control
  - Spikes, distortion, ghosting, noise, …
  - Amount of motion
Weiskopf, N et al. 2007

---
Image Quality Control
Real-time Estimation of
Functional Activation
Real-time Estimation of
subject
movement

---
Image Quality Control
Real time physiological monitoring at FIM/LBC/NIMH
Image courtesy of
Jerzy Bodurka

---
Image Quality Control
Fig. 1. From Weiskopf, N. et al. MRI 07
[Speaker Notes: Fig. 1. From N. Weiskopf et al MRI 07 : Real-time image display and quality assurance during an fMRI experiment. (A) The large window shows the current volume of reconstructed EPI magnitude images (top left). The same images windowed so that low-level artifacts and ghosts are visible in the background (top right). The signal difference between the current volume and the previous volume (bottom left). A sliding window variance map (bottom right). An increased signal variance at contrast edges (typical for head motion) and vessels (typical for cardiorespiratory effects) can be seen. The small window shows time course plots (last 70 volumes) of the scan-to-scan stability (top panel; square root of the mean square of the difference image) and an RF noise plot based on oversampled image data (bottom panel; see text for details). The RF noise plot shows an estimate of the level of RF noise for each slice separately (ordered from top to bottom), with high intensities indicating high noise levels. Peaks on the scan-to-scan stability plot indicate signal instabilities (dashed arrow). (B) RF spike artifact due to malfunction of stimulus equipment. Two low-level RF spikes are difficult to detect in the difference image (bottom left, two solid arrows) and invisible in EPI images (top left). In the scan-to-scan stability plot (small window, top panel), spikes appear as instability (solid arrow) but cannot be distinguished from head motion instabilities (dashed arrow). However, on the RF noise plot, the two spikes are clearly indicated by two high-intensity squares (small window, bottom panel, solid arrow). Note that the intensity of the plot is dynamically rewindowed so that the maximal value can be displayed, thus suppressing the display of normal lower-level RF noise values in favor of high values.]

---
Reduce Motion with Feedback
Reduce Motion with Feedback
Feedback and Biofeedback
  - Reduce motion
Yang, S. et al. 08
Fig.2 from Yang, S. et al. Neuroimage 05
Fig.6 from Yang, S. et al. Neuroimage 05
[Speaker Notes: Fig.2: Configuration of the real-time analysis system and data flow schematic Fig. 6. Histogram of counts of head motion index N 0.2 mm (from Eq. (1) with w = 0) along time in one run. Data were summed over 6 runs within subjects and then averaged across subjects. Shaded bars indicate times when instructions appeared and/or when task blocks ended]

---
Classification
Classification
Classification maps high dimensional pattern into a set of classes
  - This allows a complex brain activation pattern to be identified with a set of classes or brain states.
  - Useful in to providing intuitive feedback from activation of multiple areas
  - Useful for inferring brain state
From LaConte S. – FMRI Advanced Issues ISMRM 09
time
experiment
LaConte SM. 07
x1
x2
[Speaker Notes: Fig. 1. Overall schematics of the fMRI procedure for the BCI.The procedure is split up into two stages.The ¢rst stage is data calibration and subject preparation.The second stage is the BCI experiment.]

---
Single 2 second event
Single 2 second event
From fast randomized event related FMRI
Figs.1 and 3 from
Beauchamp, M.S. et al. HBM 09

---
Predicting new images
Predicting new images
Figs.1 and 4 from
Kay K. et al. Nature 08
[Speaker Notes: Repeated trials == 13 times]

---
Brain Computer Interface
Brain Computer Interface
Fig.1 Yoo S. et al. Neuroreport 04
[Speaker Notes: Fig. 1. Overall schematics of the fMRI procedure for the BCI.The procedure is split up into two stages.The ¢rst stage is data calibration and subject preparation.The second stage is the BCI experiment.]

---
Why bother?
Reviews:
  - Weiskopf N et al.: Real-time functional magnetic resonance imaging: methods and applications. Magnetic Resonance Imaging 25 (2007)
  - Yang S et al.: Real-Time Functional Magnetic Resonance Imaging and its Applications. in Brain Mapping Research Developments, Bakker LN ed., Nova Publishing, New Jersey (2008)
  - deCharms RC: Applications of real-time fMRI. Nature Reviews Neuroscience 9 (2008)
  - deCharms RC: Reading and controlling human brain activation using real-time functional magnetic resonance imaging. Trends in Cognitive Sciences 11 (2007)

---
The AFNI interface
The AFNI interface
The AFNI interface

---
The players
The players
Scanner
Image Monitor
AFNI
Real Time Receiver
Stimulus Display
Real Time Setup
RT Plugin
Plugin
[Speaker Notes: Real Time Setup: Instructs AFNI about desired parameters Scanner: Acquires, and reconstructs image time series Image Monitor: Checks for new images or volumes and sends them to AFNI AFNI: Collects incoming data into time series Performs volume registration Performs linear regression Performs classification Forwards requested parameters to Real Time Controller Real Time Controller: Receives requested parameters from AFNI Processes them as desired by application Provides further information to stimulus display Stimulus Display: Provide stimulus to subject and monitors subject responses Accepts feedback parameters and adapts stimulus to feedback as needed]

---
The players
Scanner
Real Time Setup
RT Plugin
AFNI
Image Monitor
Plugin
Real Time Receiver
Stimulus Display
Scanner
  - A user-supplied machine to acquire and reconstruct images in real time
[Speaker Notes: Real Time Setup: Instructs AFNI about desired parameters Real Time setup is a module that tells AFNI what to do with incoming data.]

---
The players
RT Plugin
Plugin
Real Time Setup
  - A user-supplied set of commands that tell AFNI what to do with incoming data
  - Can be done from shell commands or from within C code
  - Communicates with AFNI through TCP/IP socket
  - Sets up ROIs for AFNI*
Scanner
Image Monitor
AFNI
Real Time Receiver
Stimulus Display
Real Time Setup
[Speaker Notes: Real Time Setup: Instructs AFNI about desired parameters Real Time setup is a module that tells AFNI what to do with incoming data.]

---
Setting up AFNI's RT plugin
Setting up AFNI's RT plugin
Manually
  - Good for learning and demo

---
Setting up AFNI's RT plugin
Via Environment Variables
setenv AFNI_REALTIME_Registration 3D:_realtime
setenv AFNI_REALTIME_Graph Realtime

---
Setting up AFNI
Setting up AFNI
- Manually
- Environment variables
  - See README.environment (~250 variables)
Layout files
  - Size and position windows just so
Via plugout_drive
  - Details will follow
Via image_monitor module -drive options
-drive_wait 'OPEN_WINDOW axialgraph keypress=A'
-drive_afni 'CLOSE_WINDOW axialimage'

---
Demo time
Demo time
- Motion monitoring
- Motion & function

---
ROI selection options
ROI selection options
Standard atlases
    - TT_Daemon :
      - Created by tracing Talairach and Tournoux brain illustrations.
      - Contibuted by Jack Lancaster and Peter Fox of RIC UTHSCSA
    - CA_N27_MPM, CA_N27_ML, CA_N27_PM :
      - Anatomy Toolbox's atlases, some created from cytoarchitectonic
      - studies of 10 human post-mortem brains
      - contributed by Simon Eickhoff, Katrin Amunts and Karl Zilles of IME, Julich,
- FreeSurfer, subject-based
- Functional localizer
- Etc.

---
Standard-space atlas ROI selection
Standard-space atlas ROI selection
@fast_roi -region CA_N27_ML::Hip \
-region CA_N27_ML::Amygda \
-base TT_N27_r2+tlrc. \
-anat doe_SurfVol_Alnd_Exp+orig. \
-roi_grid blur_vr_run1_motor_AFB003+orig. \
-prefix hip_amy -time
  - less than 1min including skull stripping and xform to TLRC
  - A couple of seconds for generating more ROIs

---
Atlas-based ROIs
Atlas-based ROIs
1- Strip skull
2- Find xform to atlas space
(about 40 secs, 2.5GhZ cpu)
3- Identify ROIs
4- Xform ROIs to native space
(about 2 seconds)

---
Subject-based Anatomical ROIs
Subject-based Anatomical ROIs
From FreeSurfer's Parcellations
surfer.nmr.mgh.harvard.edu

---
The players
Scanner
Real Time Setup
RT Plugin
AFNI
Image Monitor
Plugin
Real Time Receiver
Stimulus Display
Image Monitor
  - An AFNI- or user- supplied program to wait for new images
    - AFNI-supplied programs monitor files only:
      - Imon (Monitors GE's old dreaded I files)
      - Dimon (Monitors GE's DICOM images)
      - RTfeedme (Breaks up timeseries dataset and sends it to AFNI)
    - User-supplied programs usually interface with scanner software
      - SIEMENS TRIO/ALLEGRA via functors (S. LaConte BCM, E. Stein NIDA)
    - Often only program that runs on scanner computer
  - Image Monitor sends new images or volumes to AFNI over TCP/IP socket
[Speaker Notes: Real Time Setup: Instructs AFNI about desired parameters Real Time setup is a module that tells AFNI what to do with incoming data.]

---
The players
Scanner
Real Time Setup
RT Plugin
AFNI
Image Monitor
Plugin
Real Time Receiver
Stimulus Display
AFNI/RT plugin take incoming images/volumes and processes them per the setup instructions
    - Assemble images/volumes into time series
    - Perform image registration
    - Perform (multi*) linear regression
    - Send results to Real Time Receiver through TCP/IP socket
      - Raw, volume registered, or residual volume*
      - ROI based results
    - Send raw or processed volumes to plugins registered to receive them
      - Much faster than TCP/IP (just a data pointer is passed)
      - Plugins can also communicate with Real Time Receiver
[Speaker Notes: You'll need to describe plugins as part of AFNI's interface]

---
The players
Scanner
Real Time Setup
RT Plugin
AFNI
Image Monitor
Plugin
Real Time Receiver
Stimulus Display
AFNI/RT plugin take incoming images/volumes and processes them per the setup instructions
    - Assemble images/volumes into time series
    - Perform image registration
    - Perform (multi*) linear regression
    - Send results to Real Time Receiver through TCP/IP socket
      - Raw, volume registered, or residual volume*
      - ROI based results
    - Send raw or processed volumes to plugins registered to receive them
      - Much faster than TCP/IP (just a data pointer is passed)
      - Plugins can also communicate with Real Time Receiver
[Speaker Notes: You'll need to describe plugins as part of AFNI's interface]

---
The players
Scanner
Real Time Setup
RT Plugin
AFNI
Image Monitor
Plugin
Real Time Receiver
Stimulus Display
Real Time Receiver (e.g. serial_helper.c or realtime_receiver.py)
  - AFNI- or User- supplied application that expects incoming data from AFNI and acts on it
    - Motion parameters
    - ROI-based data, all values or just average
    - Entire volumes of raw, or preprocessed data
    - Data from any RT plugin such as 3dsvm
  - Process incoming data to your liking
  - Optionally forward results to Stimulus Display either by serial connection, or TCP/IP*
[Speaker Notes: You'll need to describe plugins as part of AFNI's interface]

---
Image Monitor (Dimon)
Image Monitor (Dimon)
Dimon:
- monitor acquisition of Dicom or GE-Ifiles
- optionally write to3d script for creation of AFNI datasets
- optionally send volumes to afni's realtime plugin
---------------------------------------------------------------------------
find first volume (wait forever, scanning may not have started)
wait for volume:
 check every 2 seconds or every -sleep_init ms
 check slices to see if a volume is acquired
once found:
 note grid, orientation, byte order, etc.
 if realtime:
comm: open link
try to open TCP channel to afni RT plugin
check whether channel is ready for data
comm: send control info
send acquisition style (2D+zt), zorder, time pattern,
        TR, FOV, grid, datum, orientation, origin, etc.
comm: send volume
[Speaker Notes: Multiple channels?]

---
Image Monitor (Dimon), part II
Image Monitor (Dimon), part II
set signal handlers, and note between-volume sleep time
for each found volume
while no new volume is yet found
 check whether the scanner has stalled (run cancelled?)
 sleep for one TR, or -sleep_vol ms, or -sleep_frac fraction of TR
if this is a new run
 comm: send "end of (previous) run" message
track volume statistics
check orientation
comm: if connection not yet established, send control info
comm: send volume
upon termination (ctrl-c or -quit and no more data)
show run statistics
possibly create to3d script
comm: terminate connection
[Speaker Notes: Multiple channels?]

---
Plug_realtime
Plug_realtime
plug_realtime:
init: register work process with afni (to be called regularly)
plugin main: sets plugin control variables
----------------------------------------------------------------------
main work process: asynchronously from main afni loop
if new connection, initialize
if data is bad or no new data after timeout
write vol. to disk, plot final motion params, comm:close
if new data: warn user and process
process control info: TR, grid, orientation, DRIVE comds., etc.
prepare to receive data from multiple channels
setup new dataset
if done with data: finish_dataset and cleanup
while there is data to read
store into images
if we have a full volume
 add volume to dataset
 possibly register volume to base
update registration graph
 possibly run regression
 comm: compute and send TR data to realtime receiver
[Speaker Notes: Multiple channels?]

---
Realtime_receiver.py
Realtime_receiver.py
set signal handlers to close all ports on exit
open incoming socket and wait for connection...
forever:
process one run
        wait for the real-time plugin to talk to us
        check magic HELLO for type/amount of data to receive:
        only motion
        motion plus N ROI averages
        motion plus N voxel values (with coordinates, etc.)
        open outgoing serial port
        while no run termination, process one TR
        read incoming TCP data
        compute outgoing results
        write to serial port
close data ports

---
RT SVM plugin*
RT SVM plugin*
Scanner
Real Time Setup
RT Plugin
AFNI
Image Monitor
Plugin
Real Time Receiver
Stimulus Display
SVM plugin is being modified to accept RT data
  - Given training models, classification is done in real-time
  - Classification can go to text, or to Real Time Receiver
[Speaker Notes: You'll need to describe plugins as part of AFNI's interface]

---
Real Time SVM*
Real Time SVM*
Scanner
Real Time Setup
RT Plugin
AFNI
Image Monitor
Plugin
Real Time Receiver
Stimulus Display
*Movie generated with Real Time setup in S. LaConte et al. HBM 2007
[Speaker Notes: You'll need to describe plugins as part of AFNI's interface]

---
Receiver example
Receiver example
Example from demo

---
Strategy for Manipulating Activation
Strategy for Manipulating Activation
Providing strategy may be critical
  - Subjects overestimate ability to control activation
  - Start by providing strategy that activates ROIs regions providing feedback
See literature on control of various areas
  - Somatomotor cortex
    - Posse 2001, Yoo 2002, deCharms 2004, Yoo 2004
  - Parahippocampal place area
    - Weiskopf 2004
  - Amygdala
    - Posse 2003
  - Insular cortex
    - Caria 2007
  - Anterior cingulate cortex
    - Weiskopf 2003, Yoo 2004, Birbaumer 2007, deCharms 2005
Adapted from deCharms RC. TCS 07
From LaConte S. – FMRI Advanced Issues ISMRM 09

---
Feedback Design
Feedback Design
If incidental to task, minimize interference
Too much information

---
Feedback Design
If incidental to task, minimize interference
Enough information
Minimum Task Interference
Fig.3 from Yang, S. et al. Neuroimage 05
Fig.7 from Yang, S. et al. Neuroimage 05

---
Feedback Design
Make it appealing to subject
  - Turns out few get excited about graphs
  - Fire on the beach = much more exciting
GASP!
Figure 1d from deCharms RC. Nature 08
[Speaker Notes: Figure 1d deCharms NRN 08 Activation in these regions can either be plotted second-by-second in real time or can be presented to subjects in more abstract forms, such as this virtual-reality video display of a beach bonfire, in which each of the three elements of the flickering fire corresponds to activation in a particular brain region. Brain activation can control arbitrarily complex elements of computer-generated scenarios.]

---
Feedback Design
Rest
OMG! Asteroids!
  - Keeps subject interested
  - History trace helps subject cope with FMRI response lag
Calming thoughts
Bad thoughts
Courtesy of Zhang Y., Kurup P., Ross T. and Stein A.	NIDA/NIH
[Speaker Notes: lets pretend it is an emotional regulation task. Think bad thoughts to make it increase, calming ones to decrease. Do nothing when just clouds.]

---
Feedback Design
From S. LaConte	ISMRM 09
[Speaker Notes: Salient interface, with stimulus directly related to craving task]

---
Feedback Design
From S. LaConte	ISMRM 09

---
Feedback Design
From S. LaConte	ISMRM 09

---
Feedback Design
From S. LaConte	ISMRM 09

---
What to feedback ?
What to feedback ?
  - Which signal to use?
    - From original time series
    - From filtered* time series
    - From regression (Beta/T/R) analysis
  - Typically from one or more ROIs
    - Anatomical Atlas based
    - Single subject anatomy based
    - Group function based
    - Single subject localizer
  - Combining information from multiple ROIs
    - Encode signals in VR scene
    - Classifiers (ROI or whole brain), if models are known
  - What about noise confounds?
    - Control for respiration/cardiac with real-time RETROICOR*
    - Include other physiological covariates in real-time*
    - Include real-time baseline modeling
deCharms RC. 08
LaConte SM. 07

---
Automation
Automation

---
PowerPoint Presentation
Automating Navigation
Other applications can communicate with AFNI via a program which sends a series of commands for execution.
+ Program called via “system” function (shell invocation)
+ No need to manage sockets or format and transmit commands
+ User Interaction with GUI is uninterrupted
GUI drivers
matlab
Shell Script

---
Cycling trough 300 volumes
Cycling trough 300 volumes
while ($cnt < 300)
plugout_drive	-com "SWITCH_UNDERLAY A ${WithSkull[$cnt]}"
-com "SWITCH_OVERLAY A ${WithNoSkull[$cnt]}"
-com 'OPEN_WINDOW A coronalimage opacity=0.5'
        -com 'OPEN_WINDOW A axialimage keypress=v opacity=0.4'
        -quit
        echo "Enter new number or hit enter for next brain:"
        set ans = $< && set cnt = `expr $cnt + $ans`
 end

---
Cycling trough 300 volumes
Loop over all volumes
while ($cnt < 300)
plugout_drive	-com "SWITCH_UNDERLAY A ${WithSkull[$cnt]}"
-com "SWITCH_OVERLAY A ${WithNoSkull[$cnt]}"
-com 'OPEN_WINDOW A coronalimage opacity=0.5'
        -com 'OPEN_WINDOW A axialimage keypress=v opacity=0.4'
        -quit
        echo "Enter new number or hit enter for next brain:"
        set ans = $< && set cnt = `expr $cnt + $ans`
 end

---
Cycling trough 300 volumes
Switch background volume
while ($cnt < 300)
plugout_drive	-com "SWITCH_UNDERLAY A ${WithSkull[$cnt]}"
-com "SWITCH_OVERLAY A ${WithNoSkull[$cnt]}"
-com 'OPEN_WINDOW A coronalimage opacity=0.5'
        -com 'OPEN_WINDOW A axialimage keypress=v opacity=0.4'
        -quit
        echo "Enter new number or hit enter for next brain:"
        set ans = $< && set cnt = `expr $cnt + $ans`
 end

---
Cycling trough 300 volumes
Switch foreground volume
while ($cnt < 300)
plugout_drive	-com "SWITCH_UNDERLAY A ${WithSkull[$cnt]}"
-com "SWITCH_OVERLAY A ${WithNoSkull[$cnt]}"
-com 'OPEN_WINDOW A coronalimage opacity=0.5'
        -com 'OPEN_WINDOW A axialimage keypress=v opacity=0.4'
        -quit
        echo "Enter new number or hit enter for next brain:"
        set ans = $< && set cnt = `expr $cnt + $ans`
 end

---
Cycling trough 300 volumes
Open coronal image with low opacity
while ($cnt < 300)
plugout_drive	-com "SWITCH_UNDERLAY A ${WithSkull[$cnt]}"
-com "SWITCH_OVERLAY A ${WithNoSkull[$cnt]}"
-com 'OPEN_WINDOW A coronalimage opacity=0.5'
        -com 'OPEN_WINDOW A axialimage keypress=v opacity=0.4'
        -quit
        echo "Enter new number or hit enter for next brain:"
        set ans = $< && set cnt = `expr $cnt + $ans`
 end

---
Cycling trough 300 volumes
Open axial image and start video mode
while ($cnt < 300)
plugout_drive	-com "SWITCH_UNDERLAY A ${WithSkull[$cnt]}"
-com "SWITCH_OVERLAY A ${WithNoSkull[$cnt]}"
-com 'OPEN_WINDOW A coronalimage opacity=0.5'
        -com 'OPEN_WINDOW A axialimage keypress=v opacity=0.4'
        -quit
        echo "Enter new number or hit enter for next brain:"
        set ans = $< && set cnt = `expr $cnt + $ans`
 end

---
Automating Navigation from MATLAB
Automating Navigation from MATLAB
Excerpts from: Test_TellAfni.m
(Distributed with AFNI’s matlab library)
cs(1) = NewCs('open_window', '', 'axialimage', 'keypress=" "');
cs(2) = NewCs('OPEN_PANEL', '', 'Define_Overlay');
cs(3) = NewCs('Set_Function', 'A', 'ARzs_CW_avvr.DEL');
cs(4) = NewCs('SET_DICOM_XYZ', '', '-6 86 -3');
cs(5) = NewCs('SET_SUBBRICKS', '', '-1 0 2');
cs(6) = NewCs('SET_THRESHNEW','', 1e-9, '*p');
err = TellAfni(cs);

---
Automation demo
Automation demo

---
"Help" sources
"Help" sources
Readme files
  - README.driver
  - README.environment
  - README.realtime
Demo material available on:
http://afni.nimh.nih.gov
Automation
  - @DriveAfni script
  - @DriveSuma script
  - @DO.examples
Sample programs
  - rtfeedme.c
  - Dimon.c
  - serial_helper.c
  - realtime_receiver.py
Talk to us, we're interested in applications

---
Acknowledgments
Robert Cox
Rick Reynolds
Stephen LaConte
Thomas Ross
Julien Doyon

---
STOP!
STOP!

---
NIFTI Neuroimaging Informatics Technology Initiative
NIFTI
Neuroimaging Informatics Technology Initiative
- Initiated and directed by Michael F. Huerta and Yuan Liu
- The goal is to provide coordinated and targeted service, training, and research to speed the development and enhance the utility of informatics tools related to neuroimaging.
  - To address the Tower of Babel problem resulting from the multitude of tools.
DFWG fruits: common formats for data exchange
  - In the volume we have NIFTI-1
  - On the surface we have GIFTI-1

---
NIFTI-1
NIFTI-1
An extensible extension of ANALYZETM-7.5 file format
+ Header fields clearly defined and interpretation agreed upon
NIFTI-1 was devised to suit FMRI analyses
  - Information about time series and statistical parameters in header
  - NIFTI does allow for extensions
    - No standard for the format of the extensions or conventions for interpreting them
  - Code/Documentation available on NITRC website
  - Format adherence is voluntary
    - No formal mode to test compliance, assign blame
  - No standard for other MRI data such as Diffusion/Tractography
  - No continuing discussions
Multiple groups currently supporting NIFTI-1
  - 26 applications, according to the Internet Analysis Tools Registry
+ APIs available for C, MATLAB, Java, Python

---
GIFTI-1
GIFTI-1
- NIFTI's counterpart for surfaces and surface-based data
- Format is XML based
  - Format is mainly intended for data exchange
  - Performance was a concern, but focus was more on flexibility and ease of extension
- APIs now available for C, MATLAB, and Python
- Code/Documentation, and Sample data available on NITRC website
- At least 7 applications use GIFTI:
  - AFNI/SUMA, BrainVisa, BrainVoyager, Caret, CRkit, FreeSurfer, VisTrails, and SurfStat
Efforts underway to set up data and define tests to help with format compliance

---
We must work together, or else
We must work together, or else

---
Visualization
Visualization
The more complicated the processing, the more important it is to easily access the data at various stages of the process and for each subject
Unpredictable errors creep into the data at various levels of the analysis
Scanner
Subject
Stimulus delivery
Processing software
Postdoc error

---
Thank You