Acquiring EPI volumes: slice timing considerations
We speak about acquiring “a volume” of EPI data in the interval of one TR (say, 2s). That sounds like an instantaneous snapshot of the whole volume every TR, like this:

---
We speak about acquiring “a volume” of EPI data in the interval of one TR (say, 2s). That sounds like an instantaneous snapshot of the whole volume every TR, like this:
n = 0, t = 0.000 s

---
We speak about acquiring “a volume” of EPI data in the interval of one TR (say, 2s). That sounds like an instantaneous snapshot of the whole volume every TR, like this:
n = 0, t = 0.000 s
n = 1, t = 2.000 s

---
We speak about acquiring “a volume” of EPI data in the interval of one TR (say, 2s). That sounds like an instantaneous snapshot of the whole volume every TR, like this:
n = 0, t = 0.000 s
n = 1, t = 2.000 s
n = 2, t = 4.000 s
...

---
But in reality, a volume is acquired slice-by-slice throughout the TR interval. Moreover, the ordering is typically not sequential, but like this:

---
But in reality, a volume is acquired slice-by-slice throughout the TR interval. Moreover, the ordering is typically not sequential, but like this:
k = 0, t = 0.000 s

---
But in reality, a volume is acquired slice-by-slice throughout the TR interval. Moreover, the ordering is typically not sequential, but like this:
k = 2, t = 0.333 s

---
But in reality, a volume is acquired slice-by-slice throughout the TR interval. Moreover, the ordering is typically not sequential, but like this:
k = 4, t = 0.667 s

---
But in reality, a volume is acquired slice-by-slice throughout the TR interval. Moreover, the ordering is typically not sequential, but like this:
k = 1, t = 1.000 s

---
But in reality, a volume is acquired slice-by-slice throughout the TR interval. Moreover, the ordering is typically not sequential, but like this:
k = 3, t = 1.333 s

---
But in reality, a volume is acquired slice-by-slice throughout the TR interval. Moreover, the ordering is typically not sequential, but like this:
k = 5, t = 1.667 s

---
But in reality, a volume is acquired slice-by-slice throughout the TR interval. Moreover, the ordering is typically not sequential, but like this:
k = 5, t = 1.667 s
k = 4, t = 0.667 s
k = 3, t = 1.333 s
k = 2, t = 0.333 s
k = 1, t = 1.000 s
k = 0, t = 0.000 s
The slice selection pattern is called interleaved. This is done to reduce signal contamination from neighboring slices by acquiring them approximately ½ TR apart in time.
This particular slice selection alternates upward through the z-axis, so it is abbreviated alt+z.

---
In the special case of multiband acquisitions, multiple subsets of the slices are acquired simultaneously, where each set could use alt+z timing, for example.
k = 5, t = 0.333 s (like k = 2)
k = 4, t = 0.667 s (like k = 1)
k = 3, t = 0.000 s (like k = 0)
k = 2, t = 0.333 s
k = 1, t = 0.667 s
k = 0, t = 0.000 s
Slicewise acquisition means that time series throughout the volume are not sampled simultaneously, and this can affect the results of linear regression modeling.