Acquiring EPI volumes: slice timing considerations
We speak about acquiring “a volume” of EPI data in the interval of one TR (say, 2s). That sounds like an instantaneous snapshot of the whole volume every TR, like this:

---
We speak about acquiring “a volume” of EPI data in the interval of one TR (say, 2s). That sounds like an instantaneous snapshot of the whole volume every TR, like this:
n = 0, t = 0.000 s

---
We speak about acquiring “a volume” of EPI data in the interval of one TR (say, 2s). That sounds like an instantaneous snapshot of the whole volume every TR, like this:
n = 0, t = 0.000 s
n = 1, t = 2.000 s

---
We speak about acquiring “a volume” of EPI data in the interval of one TR (say, 2s). That sounds like an instantaneous snapshot of the whole volume every TR, like this:
n = 0, t = 0.000 s
n = 1, t = 2.000 s
n = 2, t = 4.000 s
...

---
But in reality, a volume is acquired slice-by-slice throughout the TR interval. Moreover, the ordering is typically not sequential, but like this:

---
But in reality, a volume is acquired slice-by-slice throughout the TR interval. Moreover, the ordering is typically not sequential, but like this:
TR = 2s
k = 0, t = 0.000 s

---
But in reality, a volume is acquired slice-by-slice throughout the TR interval. Moreover, the ordering is typically not sequential, but like this:
TR = 2s
k = 2, t = 0.333 s

---
But in reality, a volume is acquired slice-by-slice throughout the TR interval. Moreover, the ordering is typically not sequential, but like this:
TR = 2s
k = 4, t = 0.667 s

---
But in reality, a volume is acquired slice-by-slice throughout the TR interval. Moreover, the ordering is typically not sequential, but like this:
TR = 2s
k = 1, t = 1.000 s

---
But in reality, a volume is acquired slice-by-slice throughout the TR interval. Moreover, the ordering is typically not sequential, but like this:
TR = 2s
k = 3, t = 1.333 s

---
But in reality, a volume is acquired slice-by-slice throughout the TR interval. Moreover, the ordering is typically not sequential, but like this:
TR = 2s
k = 5, t = 1.667 s

---
But in reality, a volume is acquired slice-by-slice throughout the TR interval. Moreover, the ordering is typically not sequential, but like this:
TR = 2s
k = 5, t = 1.667 s
k = 4, t = 0.667 s
k = 3, t = 1.333 s
k = 2, t = 0.333 s
Note the ≈ TR/2 time difference between all neighboring slices.
k = 1, t = 1.000 s
k = 0, t = 0.000 s
The slice selection pattern is called interleaved. This is done to reduce signal contamination from neighboring slices by acquiring them approximately ½ TR apart in time.
This particular slice selection alternates upward through the z-axis, so it is abbreviated alt+z.

---
In the special case of multiband acquisitions, multiple subsets of the slices are acquired simultaneously, where each set could use alt+z timing and MB factor = 2, for example.
alt+z
alt+z
Because the bands are acquired simultaneously, a volume is acquired in half of the time.

---
In the special case of multiband acquisitions, multiple subsets of the slices are acquired simultaneously, where each set could use alt+z timing and MB factor = 2, for example.
MB factor = 2, TR = 1s
k = 3, t = 0.000 s (like k = 0)
k = 0, t = 0.000 s
Because the bands are acquired simultaneously, a volume is acquired in half of the time.

---
In the special case of multiband acquisitions, multiple subsets of the slices are acquired simultaneously, where each set could use alt+z timing and MB factor = 2, for example.
MB factor = 2, TR = 1s
k = 5, t = 0.333 s (like k = 2)
k = 3, t = 0.000 s (like k = 0)
k = 2, t = 0.333 s
k = 0, t = 0.000 s
Because the bands are acquired simultaneously, a volume is acquired in half of the time.

---
In the special case of multiband acquisitions, multiple subsets of the slices are acquired simultaneously, where each set could use alt+z timing and MB factor = 2, for example.
MB factor = 2, TR = 1s
k = 5, t = 0.333 s (like k = 2)
k = 4, t = 0.667 s (like k = 1)
alt+z
k = 3, t = 0.000 s (like k = 0)
k = 2, t = 0.333 s
k = 1, t = 0.667 s
alt+z
k = 0, t = 0.000 s
Because the bands are acquired simultaneously, a volume is acquired in half of the time.

---
In the special case of multiband acquisitions, multiple subsets of the slices are acquired simultaneously, where each set could use alt+z timing and MB factor = 2, for example.
MB factor = 2, TR = 1s
k = 5, t = 0.333 s (like k = 2)
k = 4, t = 0.667 s (like k = 1)
k = 3, t = 0.000 s (like k = 0)
k = 2, t = 0.333 s
Note the smaller but still nonzero time difference between all neighboring slices.
k = 1, t = 0.667 s
k = 0, t = 0.000 s
Because the bands are acquired simultaneously, a volume is acquired in half of the time.

---
How does slicewise acquisition affect the time series? Consider a subject with identical time series at every voxel.
Because each slice is acquired at a different time, the sampled time series will differ across slices.
This can affect the results of linear regression modeling.
The later a slice is acquired, the later the (black) curve is sampled.
k = 5, t = 1.667 s
k = 4, t = 0.667 s
k = 3, t = 1.333 s
k = 2, t = 0.333 s
k = 1, t = 1.000 s
k = 0, t = 0.000 s
Each slice is identical across all voxels in that slice.

---
Correcting for differential slice timing: 3dTshift -tzero 0 ...
→ We can perform slice timing correction to adjust each time series to appear as if it had been acquired at the same time in each slice, via interpolation (blue time series); here, each slice is adjusted to time=0s.
The later a slice is acquired, the later the (black) curve is sampled, hence it looks “left-shifted” compared to the corrected (blue) curve.
The corrected (blue) curves should look more like the one at slice k=0
(for: 3dTshift -tzero 0).

---
Correcting for differential slice timing: 3dTshift -tzero 0 ...
→ In an ideal case, the adjusted time series looks the same as an “instantaneous volume” acquisition would (pink line, for reference).
→ In reality, motion spikes and other noise features present challenges, as they get blurred across time (hence we despike first).
Compare the ideal (pink) and 3dTshift adjusted (blue) curves:
At k=5 the curves do not match exactly, even without noise.
At k=0 the curves match.